## Sheet1
DISTRICT GENERATOR INVENTORY - UPDATED LIST MARCH 2019
NUMBER | UNIT | CAMPUS | LOCATION | MANUFACTURER | GENERATOR | YEAR | CAPACITY | FUEL CAPACITY | FUEL TYPE | STORAGE TANK | AUTOMATIC | TRANSFER | SWITCH |  | MANUFACTURER
[5 empty] | MODEL-SERIAL NUMBER |  |  |  |  | LOCATION | SERIAL NUMBER | YEAR | AMPS. | VOLT.
1 | A838 | KENDALL | BLDG. L | CATERPILLAR | SR4/GPA-02082 | 1993 | 1250 KW | 4000 gals. | DIESEL | ABOVE GROUND | ZV3M817/215835 | 1993 | 800 | 277/480 | ZENITH CONTROLS
2 | A839 | KENDALL | BLDG. 9000 | DETROIT DIESEL | 600DS60 / 390699 | 1992 | 600 KW | 3000 gals. | DIESEL | ABOVE GROUND |  | 2000 | 1600 | 277/480 | SPECTRUM D.D.
3 | A004 | KENDALL | BLDG. R | KOHLER | 200REZXB / SGM32GFFT | 2012 | 150KW | NATURAL GAS | N/A | METER BY GEN SET |  | 2012 | 200 | 277/480 | GENERAC
4 | A837 | HOMESTEAD | BLDG. A | KATOLIGHT / CUMMINS | D1000FRZ4 / WAGM007835-01 | 1995 | 720 KW | 4000 gals. | DIESEL | UNDERGROUND |  | 1995 | 225 | 277/480 | ASCO
5 | A001 | WEST CAMPUS | BLDG 1 | KATOLIGHT | N500FR-24 / WA535385-90323 | 2000 | 500 KW | Unlimited | NATURAL GAS | METER BY GEN SET |  | 2000 | 400 | 277/480 | ZENITH CONTROLS
6 | A002 | WEST CAMPUS | BLDG1 | KOHLER |  | 2016 | 200 KW | NATURAL GAS | NATURAL GAS | METER BY GEN SET |  | 2016 | 230 | 277/480 | KHOLER
7 | A205 | NORTH | BLDG. 7000 | CATERPILLAR (OLYMPIAN) | G150G1 / OLY0000PNGJ00405 | 2006 | 150 KW | Unlimited | NATURAL GAS | METER BY BLDG. ENTRANCE |  | 2006 | 250 | 277/480 | ONAN
8 | A286 | NORTH | BLDG. 4000 | MTU (NEW UNIT) | 6R0120-DS150 / 95130500073 | 2018 | 275 KW | 200 gals. | DIESEL | ABOVE GROUND | J03ATSB30260NGXC | 2018 | 260 | 277/480 | ASCO
9 | A600 | NORTH | BLDG. 1000 | CATEPILLAR | SR4 / 6NA03409 | 1993 | 800 KW | 2000 gals. | DIESEL | ABOVE GROUND |  | 1993 | 1200 | 277/480 | NON-AUTO/ZENITH
10 | A893 | NORTH | BLDG. 900 | ONAN | 700KR-15R-178 / 675956745 | 1967 | 70 KW | Unlimited | NATURAL GAS | METER BY GEN SET |  | Manual Transfer Switch
11 | A279 | NORTH | BLDG. 400 | DETROIT DIESEL(OLD) KOHLER 200REZX | 200REZX / 2304899 | 2012 | 200 KW | NATURAL GAS | DIESEL | METER BY GEN SET |  | 2011 | 400 | 277/480 | ASCO
12 | A836 | HIALEAH | BLDG.1000 | CUMMINS | DQCC-1338058 / J130580814 | 2015 | 800 KW | 550 Gals. | DIESEL | SUB BASE TANK | ATS#1 K130596591 (ES) ATS#2 L130604007 € | 2015 2015 | 225 1200 | 277/480 277/480 | CUMMINS POWER GEN. CUMMINS POWER GEN.
13 | A003 | SCIENCE BLDG. | BLDG. 10000 | KATOLIGHT / MARATHON | NL400RZ4 / 176771-1-1-0908 | 2008 | 400 KW | Unlimited | NATURAL GAS | METER BY GEN SET | MX150 | 2008 | 400 | 277/480 | KATOLIGHT
14 | A964 | WOLFSON | BLDG. 9000 | CATERPILLAR LC6 | LC6 / G6B17007 | 2011 | 350 KW | 500 gals. | DIESEL | SUB BASE TANK | SERIE 300 / 612154-003RE | 2011 | 600 | 277/480 | ASCO
15 | A961 | WOLFSON | BLDG.7000 | CATEPILLAR | SR-4B / GEA11681 | 1999 | 400 KW | Unlimited | NATURAL GAS | METER BY BLDG. ENTRANCE |  | 1999 | 400 | 277/480 | ASCO
16 | A601 | NEW WORLD S.A WOLFSON | BLDG. 5000 | CATEPILLAR | SR4B / AFK00315 | 2002 | 1600 KW | 500 gals. | DIESEL | ABOVE GROUND |  | 2002 | 2400 | 277/480 | ASCO
17 | A835 | WOLFSON | BLDG. 3000 | CATEPILLAR | SR4 / 5UA02061 | 1995 | 750 KW | 4000 gals. | DIESEL | UNDERGROUND | ZV3M8 | 1995 | 1200 | 277/480 | ZENITH CONTROLS
18 | A394 | WOLFSON | BLDG. 2000 | (OLYMPIAN) / PERKINS | D200P4 / OLY00000NW501078 | 2000 | 180 KW | 200 gals. | DIESEL | ABOVE GROUND |  | 2000 | 200 | 277/480 | ASCO 200
19 | A320 | WOLFSON | BLDG. 1000 | CATERPILLAR | SR4B / 7GM00915 | 2002 | 1250 KW | 700 Gals | DIESEL | SUB BASE TANK |  | 2002 | 1600 | 277/480 | ASCO
20 | A005 | WOLFSON | BLDG. 10000 PKG. GARAGE | KOHLER | 200RE0ZJF / SGM32FFFW | 2016 | 200 KW | 390 gals. | DIESEL | SUB BASE TANK |  | 2016 | 250 | 277/480 | ASCO
21 | A006 | WOLFSON | FREEDOM TOWER | CATERPILLAR (NEW UNIT) | C-27/2A300252 | 2018 | 800 KW | 1000 gals. | DIESEL | SUB BASE TANK | H03N 1532744 | 2017 | 1200 | 277/480 | MTS-SQUARE D-1200 A ASCO 800A
22 | A003 | WOLFSON | FREEDOM TOWER | CATERPILLAR | SR4 / AER00150 | 2000 | 550 KW | 545 gals. | DIESEL | SUB BASE TANK |  | 2000 | 400 | 277/480 | TSC 800
23 | A965 | WOLFSON | BLDG. 8000 | MTU | D500600D6SRAH1484 / 333826-1-1-0611 | 2013 | 600 KW | 500 gals. | DIESEL | SUB BASE TANK |  | 2013 | 800 | 277/480 | TSC 800
24 | A962 | IAC | BLDG.1000 | CATEPILLAR | SR4B / 90R02487 | 1998 | 400 KW | 1000 gals. | DIESEL | ABOVE GROUND |  | 1998 | 400 | 277/480 | ASCO
25 | A963 | IAP | BLDG. 1000 | CUMMINS | DQCB-1606834 / D160946120 | 2017 | 750 KW | 1000 gals. | DIESEL | ABOVE GROUND | 1327582 WE | 2017 | 1600 | 277/480 | ASCO
26 | A263 | MEDICAL | BLDG. 1000 | CUMMINS | 500FDR5051AA / DJ-92642-7-15-2 | 1975 | 260 KW | 400 gals. | DIESEL | ABOVE GROUND |  | 1975 | 400 | 277/480 | WESTINGHOUSE
27 | A007 | MEDICAL | BLDG. 3000 | MARATHON (NEW UNIT) | 8V1600-DS400 / 95010500102 | 2017 | 400 KW | 500 gals. | DIESEL | ABOVE GROUND |  | 2018 | 400 | 277/480 | TORNATECH
28 | A008 | MEDICAL | BLDG. 4000 PKG. GARAGE | CUMMINS (NEW UNIT) |  | 2018 | 250 KW | Unlimited | NATURAL GAS | METER BY BLDG. ENTRANCE |  | 2018 | 70 | 277/480 | CUMMINS
29 | P1 | NORTH | MOTOR POOL | CATERPILLAR | SR4 | 2002 | 400 KW | 500 gals. | DIESEL | SUB BASE TANK | N/A | N/A | N/A | 277/480 | N/A
30 | P2 | KENDALL | MOTOR POOL | JOHN DEERE WHISPERWATT | DCA-70SSJU2 / 7303940 | 2008 | 70 KW | 40 Gals | DIESEL | SUB BASE TANK | N/A | N/A | N/A | 120/240 | N/A
31 | A-601 | EEC | BLDG. 1000 | CATERPILLAR/OLYMPIAN | CAT00044L100 / EBN-00160 | 2010 | 50 KW | 400 gals. | DIESEL | SUB BASE TANK |  | 2010 | 200 | 120/208 | ASCO
Note on E30: mmiranda: STAMFORD/CUMMINS 300 KW GENERATOR SERIAL#M05L090016-09 MOTOR 855 GS SPEC: 10511252